LABORATORY INSPECTION CHECKLIST

Date:____________		Building:_________________		Room:____

- General Safety and Hygiene                                                                       YES 	 NO

| Work areas are clean and free of spilled materials |  |  |
| --- | --- | --- |
| Are there odors in the lab indicating an unhealthy condition |  |  |
| Food, drink, smoking observed |  |  |
| Exits properly marked |  |  |
| Staff wearing eye protection |  |  |
| Staff wearing proper PPE (gloves, coat/apron, face shields, shoes) |  |  |
| Needles, syringes, sharps properly handled |  |  |
| Hazardous waste handled properly |  |  |
| Appropriate signs (Radiation, Biohazard, Hazardous Waste) |  |  |

- Compressed Gas Cylinders                                                                       YES	NO

| Gas cylinders properly secured |  |  |
| --- | --- | --- |
| Cylinder capped when not in use |  |  |
| Fuel gases segregated from oxygen (>20 feet) |  |  |
| Pressure relieved from valves on cylinders not in use |  |  |

- Fume Hoods                                                                                                 YES      NO

| Inspection current and status posted |  |  |
| --- | --- | --- |
| Fume Hoods Functioning properly |  |  |
| Hoods with clutter |  |  |

Training										YES      NO

| Is there a Chemical Hygiene plan in the area |  |  |
| --- | --- | --- |
| Emergency reporting procedure and notification has been explained |  |  |
| Hazard Communication Standard / Lab Safety has been covered |  |  |
| MSDS information for relevant chemicals is available |  |  |
| Operate a fire extinguisher / Attended Fire safety |  |  |

Emergency Equipment and Procedures					YES      NO

| Are safety showers present and unobstructed |  |  |
| --- | --- | --- |
| When were eyewash stations and safety showers last inspected |  |  |
| Are eyewash stations present and unobstructed |  |  |
| Are there first aid kits available |  |  |
| Are fire extinguishers properly placed and unobstructed |  |  |
| Are the emergency spill kits operational |  |  |

Chemical Storage							            	YES	  NO

| Incompatible Chemicals stored properly |  |  |
| --- | --- | --- |
| Containers are labeled legible with proper dates (Received & Opened) |  |  |
| Flammables stored in fire cabinets |  |  |
| Refrigerators are explosion proof |  |  |
| All refrigerators and cold rooms are properly labeled |  |  |
| Chemicals past 1-year expiration date are removed |  |  |

Inspector:________________________________________________