|  |  |  |  | #### The University of Akron ##### Environmental and Occupational Health and Safety ## 180 East Mill St. 44325-0607 #### Tel. # (330) 972-6866, Fax # (330) 972-5711 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # Laboratory Inspection Notification |  |  |  | # Laboratory Safety Notice of Violation |  |  |  |  |  |  |
| Building: |  |  |  | Department: |  |  |  |  |  |  |
| Room Number: |  |  |  | Name of Research Advisor: |  |  |  |  |  |  |
| Occupant Name: |  |  |  |  |  |  |  |  |  |  |
| Phone Number: |  |  |  | Fax Number: |  |  |  |  |  | Zip: |
| Date: |  |  |  | Time: |  |  |  |  |  | ##### Unit # |
| Corrective Actions: |  |  |  |  | ### Type of Inspection: |  |  |  |  |  |
| 1. | Remove/Reposition equipment in the hood |  |  |  | 1. |  | Weekly |  |  |  |
| 2. | Unblock/Free sash operation |  |  |  | 2. |  | Monthly |  |  |  |
| 3. 3. | Organize/Store your chemicals properly |  |  |  | 3. |  | Safety Concern |  |  |  |
| 4. | Clean up (general housekeeping) |  |  |  | 4. |  | Special/ testing |  |  |  |
| 5. | Replace / repair |  |  |  | 5. |  | Re-inspection |  |  |  |
| 6. | Service |  |  |  |  |  |  |  |  |  |
| 7. | Assistance needed from EOHS |  |  |  |  |  |  |  |  |  |
| Areas of Violation: |  |  |  |  |  |  |  |  |  |  |
| 1 | Emerg. Contact Posted | 12 | Hazardous Waste Management |  |  |  |  | 23 | Chemicals in the office area |  |
| 2 | Storage of Flammables | 13 | Appropriate Signs (Rad. Biohazard) |  |  |  |  | 24 | Access to Safety Showers/Eyewash |  |
| 3 | Storage of Corrosives | 14 | Gas cylinders secured |  |  |  |  | 25 | First Aid Kit in the area |  |
| 4 | Storage of Reactives | 15 | Emergency Notification Info |  |  |  |  | 26 | Refrigerators for Chemicals only |  |
| 5 | Unsafe Apparatus setup | 16 | Objects Blocking Egress |  |  |  |  | 27 | Hood Inspection Current |  |
| 6 | Extension Cords | 17 | Fuel gases > 20 ft from Oxygen |  |  |  |  | 28 | Fire Extinguishers Inspection |  |
| 7 | Aisle Housekeeping | 18 | Chemical Hygiene Plan in area |  |  |  |  | 29 | Explosion proof refrigerator |  |
| 8 | Bench Housekeeping | 19 | Lab Safety Training |  |  |  |  | 30 | Emergency Spill Kits |  |
| 9 | Housekeeping in Hoods | 20 | MSDS Information |  |  |  |  | 31 | Presence of Unlabelled Containers |  |
| 10 | Staff wearing PPE | 21 | Chemical Inventory Updated |  |  |  |  | 32 | Accident Reporting Procedure |  |
| 11 | Needles/Sharps Managed | 22 | Food/Beverage in the lab |  |  |  |  | 33 | Clear Glass Panel on Lab Door |  |
| Inspector's Comments: |  |  |  |  |  |  |  |  |  |  |
| You are hereby notified to correct the above conditions within . If you have any concerns or questions, please contact the Department of Environmental and Occupational Health and Safety at (330)-972-6866. |  |  |  |  |  |  |  |  |  |  |
| Inspector Printed Name: |  |  |  |  |  | Inspector Signature: |  |  |  |  |